


Johnson Water District
3748 W Highway 87
Roosevelt, UT  84066
Board of Trustee Meeting
Minutes
August 20, 2026


1. CALL TO ORDER:
CONVENED: Regular Board Meeting convened at 6:30 p.m. The meeting was called to order by Daniel Crozier.


2. [bookmark: _Hlk146094997]ROLL CALL:	 Daniel Crozier		Chairman
 James Smart		Vice Chairman 
			 Paul Percival		Trustee
			 Drew Eschler 		Trustee (absent)
 Tommy Henderson	Treasurer (absent)
 Wesley Hanberg	Manager
[bookmark: _Hlk201915221][bookmark: _Hlk201917805] Cindy Duncan		Secretary


     VISITOR: Eric Rube, Jones & DeMille Engineering		
     VISITOR: Aaron Averett, Sunrise Engineering			
     VISITOR: Mike Thompson 				
     VISITOR: Josh Byrnes					
     VISITOR: Chett Hansen					
     VISITOR: Clinton Moon					
     VISITOR: Matt Betts					
     VISITOR: Nikki Bedell				
     					

3. BID OPENING:
· Bids for East System Project 2026 were opened.
· Pipeline bids:
· BHI – General $1,405,475.25, Alternative $1,513,925.25
· Patriot Precision – General $1,239,533.60, Alternative $1,299,433.60
· Johansen Construction Inc. – General $1,893,072.55, Alternative $2,093,722.55
· Condie Construction Company -General $2,345,726.00, Alternative $2,456,556.00
· Newman Construction Inc. – General $2,216,000.00, Alternative $2,329,000.00
Tank bids:
· Dale Cox -General $1,070,383.74, Alternative $1,137,376.94
· Condie Construction Company -General $1321785.00, Alternative $1,405,125.00
· ProBuild Construction Inc. -General $1,926,440.00, Alternative $2,122,760.00
· Vancon Inc. -General $1736320.00, Alternative $1,847,000.00


4. EAST DUCHESNE BOARD DISCUSSION:
· East Duchesne would like to have an agreement in place with JWID on the Bridgeland Tank, with cost and maintenance billed quarterly. Josh Byrnes and Wesley Hanberg will meet and put together an agreement. 
· East Duchesne would like to sit down once a year with JWID and discuss what needs to be done on the tank and pricing on the water.
· Wedig Draw is supported by JWID system. It would be best if JWID absorbs it. East Duchesne will look at the legal paperwork with Duchesne County and see what is necessary for the change.

5. VISITOR: Aaron Averett, Sunrise Engineering
· Weldon plans to repair the settled asphalt at the intersection of 3750 S and 4500 E and install the ladder by the end of August. The final acceptance will be signed once the ladder is replaced.
· The Don Fillingim and Robert Belnap pipeline easements have been signed and recorded with the county. We are still coordinating with Tracy and Peggy Killian, SM Energy and Moon Lake Electric. 
In addition to the extra easement length added on to SM Energy’s property, they are requesting a 1” meter connection. They originally requested a 2” meter connection; however, they have reduced their request to a 1” connection to better accommodate the original compensation amount. 

· It was moved by James Smart to move forward with compensating SM Energy a 1” meter connection with an 18-month timeline for installation in the location where JWID has the water available, seconded by Paul Percival, all approved. (Paul Percival yes – James Smart yes – Tommy Henderson (absent) – Drew Eschler (absent))

· Due to recent coordination with Moon Lake Electric to provide power to the new tank, additional property will need to be purchased to accommodate the installation of a new power pole. 
We have two proposed options for property purchase:
A. Purchase approximately 4 acres of land with no access road easement. This eliminates the need for a permanent easement for access. Based on the Board approved rate of $4500 per acre the estimated price cost would be approximately $16,065. However, JD Brisk believes the Board approved rate is low. In exchange for allowing JWID to purchase property at this rate, he has expressed interest in receiving a discounted 3/4” meter connection as part of compensation.
B. Purchase approximately 2 acres of land with access road easement. The disadvantage of this option is that a permanent easement will be required, along with additional coordination to determine the location of the new access road. 
· It was moved by James Smart to go with option A which includes purchasing the property of 3.57 acres at $4500 per acre. And will also get one 3/4” meter connection at a discounted rate of $1500 and to be installed within the next 6 months, seconded by Paul Percival, all approved. (Paul Percival yes – James Smart yes – Tommy Henderson (absent) – Drew Eschler (absent))

· Sunrise Engineering will go through the bids and will award the lowest bidder on August 24, 2026.

· It was moved by James Smart to accept the lowest bidder of the pipeline and tank, seconded by Paul Percival, all approved. (Paul Percival yes – James Smart yes – Tommy Henderson (absent) – Drew Eschler (absent))

6. VISITOR: Eric Rube, Jones and DeMille Engineering 
· Ioka area water line replacement: Currently finishing the CIB application. We will be submitting the application to Kevin Yack at UBAOG for their review early next week. JWID will need to have a public hearing in September to approve the loan application for the Ioka area water line replacement project. 
· Wesley Hanberg asked Jones and DeMille Engineering to look at the capacity on Cobble Hollow Drive. In each of the PDD, ADD and PID scenarios, you can add around 30 connections in that area without negatively affecting the system. In the PDD + FF scenario, Cobble Hollow Drive has areas that cannot produce the required fire flow. Adding connections in the area would only reduce the flow that can currently be provided in the area. In the Master Plan, this line is recommended to be upsized to 10-inch to convey the required fire flow.
· Pole Line Road Water Line: Wesley Hanberg had a meeting with DCSSD #2 last Thursday to discuss the cost sharing for the water line replacement where the district is rerouting Pole Line Road. The district has offered to pay 50% of the installation cost if JWID will pay for Materials and other 50% if installation costs. If the board would like to move forward with this project, Jones and DeMille recommend doing this project separately from the roadway project the district is doing to minimize costs (UDOT project).

7. MINUTES:
· It was moved by Paul Percival to accept the minutes for July 16, 2026, Board Meeting as corrected, second by James Smart, all approved. (Paul Percival yes – James Smart yes - Tommy Henderson (absent) – Drew Eschler (absent))

8. REPORTS:
Financial Reports:
· The Operational Budget Report was handed out for Board Member to look over. A copy of the Vender Register was handed out on checks that were written for July 2026. It was moved by James Smart to adopt the financial report, second by Paul Percival, all approved. (Paul Percival yes – James Smart yes – Tommy Henderson (absent) – Drew Eschler (absent))  

9. ADDITIONAL PERSONNEL:
· Wesley Hanberg would like to add an additional personnel member to help with different areas of JWID. This will be discussed later.
10. NEW WELL:
· Wesley Hanberg met with Alan Allred – Cedar View manager, in their 5-year plan is to put some wells in above Neola and may have the availability for JWID to go in and benefit from the wells by trade or something similar. It could be a good viable option for JWID.
11. CYBER SECURITY:
· There have been rising Cyber-attacks, and the Board would like JWID to be aware and take precautions. Techris Designs come in monthly to review the computers and check for any suspicious activity.
12. MANAGER REPORT:
· Well update: The motor and pipe were pulled on Wednesday. The parts have been picked up. It should be up and running by Friday. The cost is above the original estimate, but we will bill SM Energy for the repairs. 
· Truck Replacement: Wesley Hanberg presented bids for a 2027 Ford F-150 and a 2027 Ford Super Duty F-250. The board would like to discuss this more at the next board meeting.

13. ADJOURNEMENT: It was moved by Paul Percival to adjourn at 9:12 p.m.

APPROVAL:

Daniel Crozier –Chairman
Attest:

Cindy Duncan, Secretary



